SPEC NOTE: This specification includes materials and installation procedures for BlueskinVPTM 100, a self-adhering sheet water resistive air barrier membrane meeting the air barrier requirements of the National Building Code of Canada (NBC) for the building envelope.  BlueskinVPTM 100 is used in cavity wall construction to provide an air and rain barrier membrane yet allows for the passage of water vapour. This specification should be adapted to suit the requirements of individual projects It is prepared in CSC NMS three part format and should be included as a separate section under Division 7 - Thermal and Moisture Protection.

PART 1 - GENERAL

1.1	GENERAL REQUIREMENTS

.1	General Conditions, Supplementary Conditions, Instructions to Bidders and Division One General Requirements shall be read in conjunction with and govern this section.

.2	This Specification shall be read as a whole by all parties concerned.  Each Section may contain more or less than the complete Work of any trade.  The Contractor is solely responsible to make clear to the Subcontractors the extent of their Work.

1.2	DESCRIPTION

.1	Supply labour, materials and equipment to complete the Work as shown on the Drawings and as specified herein to bridge and seal the following air leakage pathways and gaps:

.1	Connections of the walls to the roof air barrier.

.2	Connections of the walls to the foundation.

.3	Seismic and expansion joints.

.4	Openings and penetrations of window and door frames, store front, curtain wall.

.5	Piping, conduit, duct and similar penetrations.

.6	Masonry ties, screws, bolts and similar penetrations.

.7	All other air leakage pathways in the building envelope.

.2	Materials and installation methods of the primary vapour permeable air barrier membrane system and accessories.

.3	Materials and installation methods of through-wall flashing membranes.

  - RELATED SECTIONS

.1   	Concrete	Section [03 XX XX]

.2	Masonry: 	Section [04 XX XX]

.3   	Gypsum Sheathing	Section [06 XX XX]

.4   	Plywood Sheathing	Section [06 XX XX]

.5   	Insulation: 	Section [07 XX XX]

.6  	Roofing: 	Section [07 XX XX]

.7   	Wall Panels	Section [07 XX XX]

.8   	Flashing	Section [07 XX XX]

.9   	Sealants: 	Section [07 XX XX]

.10 	Door Frames: 	Section [08 XX XX]

.11 	Window Frames: 	Section [08 XX XX]

1.4	REFERENCES

.1	The following standards are applicable to this section:

.1	ASTM E 2178: Standard Test Method for Air Permeance of Building Materials.

.2	ASTM E 283: Standard Test Method for Determining the Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen.

.3	ASTM E 96: Water Vapour Transmission of Materials.

.4	ASTM C 920; Standard Specification for Elastomeric Joint Sealants.

.5	ASTM C 1193; Standard Guide for Use of Joint Sealants.

.6	ASTM E 84: Test Method for Surface Burning Characteristics of Building Materials.

.7	ICC-ES AC 38: Acceptance Criteria for Water-Resistive Barriers.

.8	ICC-ES AC 188: Acceptance Criteria for Roof Underlayments.

.9         ICC-ES AC 48: Acceptance Criteria for Roof Underlayment for use in Severe Climates.

.10	AAMA 2400: Standard Practice for Installation of Windows with a Mounting Flange in Stud Frame Construction.

.11	ASTM E 2112:  Standard Practice for Installation of Exterior Windows, Doors and Skylights.

.12	AAMA 711-05: Specification for Self Adhering Flashing Used for Installation of Exterior Wall Fenestration Products.

.2	AATCC – American Association of Textile Chemists and Colorists.

.1	Test Method 127 Water Resistance: Hydrostatic Pressure Test.

.3	TAPPI

.1	Test Method T-410; Grams of Paper and Paperboard (Weight per Unit Area).

1.5	SUBMITTALS

.1	Submit documentation from an approved independent testing laboratory certifying compliance with a) the air leakage rates of the air barrier membrane assembly, including primary membrane, primer and sealants have been tested to meet  a) ICC-AC 38, b) Peel adhesion to unprimed plywood and cyclic and elongation per ICC-AC 48, c) Class A flame spread index and smoke development per ASTM E 84.

.2	Submit documentation from an approved independent testing laboratory certifying that the air leakage and vapour permeance rates of the air barrier membrane, exceed the requirements of the National Building Code (NBC) and in accordance with ASTM E 2178.

1.	Test report submittals shall include test results on porous substrate and include sustained wind load and gust load air leakage results.

.3	Submit manufacturers’ current product data sheets for the air barrier membrane system.

1.6	QUALITY ASSURANCE

.1	Submit document stating the applicator of the primary air barrier membranes specified in this section is authorized by the manufacturer as suitable for the execution of the Work.

.2	Perform Work in accordance with manufacturer’s written instructions and this specification.

.3	Maintain one copy of manufacturer’s written instructions on site.

.4	Allow access to Work site by the air barrier membrane manufacturer’s representatives.

.5	Components used shall be sourced from one manufacturer, including sheet membrane, air barrier sealants, primers, mastics, flashings and adhesives.

.6        Single-Source Responsibility:

.1	Obtain air barrier materials from a single manufacturer regularly engaged in manufacturing the product.

.2	Provide products which comply with all federal, provincial, and local regulations controlling the use of volatile organic compounds (VOCs).

1.7	MOCK-UP

.1	Construct mock-up in accordance with Section 01340   Shop Drawings, Product Data, Samples and Mock-ups.

.2	Provide mock-up of air barrier materials under provisions of Section [      ] - [      ].

.3	Where directed by [engineer] [architect] [consultant], construct typical exterior wall panel, 1.83 M long by 1.83 M wide (6 foot long by 6 foot wide), incorporating substrate, window frame, attachment of insulation and showing air barrier membrane application details.

.4	Allow 48 hours for inspection of mock-up by [engineer] [architect] [consultant] before proceeding with air barrier work. Mock-up may remain as part of the Work.

.5	Test mock-up for air and water infiltration to conform with Section 01400 - Quality Control, in accordance with ASTM E783 and ASTM E1105.

1.8	PRE-INSTALLATION CONFERENCE

.1	Contractor shall convene [one] week prior to commencing Work of this section, under provisions of Section [      ] - [      ].  – Project Meetings.

.2	Ensure all contractors responsible for creating a continuous plane of air tightness are present.

1.9	DELIVERY, STORAGE AND HANDLING

.1	Refer to current Product MSDS for proper storage and handling.

.2	Deliver materials to the job site in undamaged and original packaging indicating the name of the manufacturer and product.

.3	Store rolls on end, in original packaging. Protect rolls from direct sunlight and weather until ready for use.

.4	Store air barrier membranes, adhesives and primers at temperatures of 5°C (40°F) and above.

.5	Keep solvent away from open flame or excessive heat.

.6	Wasted Management and Disposal

.1 	Separate and recycle waste materials in accordance with Section [01355 - Waste Management and Disposal], and with the Waste Reduction Work Plan

.7	Contractor to verify compliance for Volatile Organic Compounds (VOC) limitations of products to comply with all federal, provincial, and local regulations controlling use of volatile organic compounds (VOCs).

  - CO-ORDINATION

.1        Ensure continuity of the water resistive air barrier throughout the scope of this section.

  - ALTERNATES

.1	Submit request for alternates in accordance with Section [XXXXX] - [XXXXX].– Substitution Procedures.

.2	Submit requests for alternates a minimum of ten (10) working days prior to bid date

.3	Alternate submissions to include:

.1	Evidence that alternate materials meet or exceed performance characteristics of Product requirements as well as documentation from an approved independent testing laboratory certifying the air leakage rates and vapour permeance rates of the air barrier membranes, including primary membrane and transition sheets meet the requirements of, NBC (Canadian National Building Code) and in accordance with ASTM E 2178.

.2	Manufacturer’s complete set of air barrier membrane system details, showing a continuous plane of air tightness throughout the building envelope.

.4	Acceptable alternates will be confirmed by addendum. Substitute materials not approved in writing prior to bid date shall not be permitted for use on this project.

1.12	WARRANTY

.1		Provide manufacturer’s standard 10-year assembly warranty.

PART 2 - PRODUCTS

  - MATERIALS

.1	Air barrier membrane components and accessories must be obtained as a single-source from the membrane manufacturer to ensure total system compatibility and integrity.

Manufacturer: 	Henry Company Canada

15 Wallsend Drive

Scarborough, ON

M1E 3X6

Tel: 1-800-486-1278

Fax: 1-866-223-1285

Web Site: www.henry.com

2.2	MEMBRANES (Basis-of-Design)

.1 	The primary water resistive air barrier membrane shall be BlueskinVPTM 100 manufactured by Henry; a self-adhering reinforced modified polyolefin tri-laminate (Blue) sheet air barrier membrane for wall construction, specifically designed to be water resistant and vapor permeable. Patented adhesive backing to be protected with 3 piece release film. Membrane shall have the following physical properties:

.1	Air leakage: <0.004 CFM/ft2 @ 1.57 lbs/ft2 [<0.02L/s/m2 @ 75Pa] when tested in accordance with ASTM E2178.

.2	Water Vapour Permeance: 1914 ng/Pa.m².s (33 perms) to ASTM E96, Method A – Desiccant method.

.3	Resistance to Water Penetration: Pass ICC-ES AC 38.

.4	Water Penetration Resistance around Nails: Pass when tested to AAMA 711-05 & ASTM D 1970 modified.

.5	Surface Burning Characteristics: Class A, when tested in accordance with ASTM E84: Flame Spread Rating of 5 and Smoke Development Classification of 125.

.6	Basis Weight: 80 g/m2, when tested in accordance with TAPPI Test Method T-410.

.7	Average Dry Breaking Force: 245 N (55 lbF) MD, and 214 N (48 lbF) CD per ASTM D 5034.

.8      	Cyclic and Elongation: Pass at 100 cycles, -29°C (-20°F) per ICC-ES AC 48.

.2	Self-Adhered membranes for window sill pan flashings shall be Blueskin( SA or LT manufactured by Henry; an SBS modified bitumen, self-adhering sheet membrane which is integrally laminated to a blue polyethylene film. Membrane shall have the following physical properties:

.1        Membrane Thicknesses: 1.0 mm (0.040 inches; 40 mils).

.2        Low temperature flexibility: -30°C to ASTM D146.

.3        Elongations: 200% minimum to ASTM D412-modifed.

.4        Minimum Puncture Resistances: 40lbf to ASTM E154.

.5        Lap Peel Strengths 4378.4 N/m (25 lbF/in) width to ASTM D903 180° bend.

.6	Auxiliary tested component of ASTM E 2357 for Air Leakage of Air Barrier Assemblies.

.3		Self-adhering membrane for all window jambs, headers, door openings, inside and outside corners, and other transitions shall be pre-cut BlueskinVPTM Window & Door Flashing manufactured by Henry; a self-adhering reinforced modified polyolefin tri-laminate (White) sheet air barrier membrane for wall construction, specifically designed to be water resistant and vapour permeable. Membrane shall have the following physical:

.1	Air leakage: <0.02L/s/m2 @ 75Pa [<0.004 CFM/ft2 @ 1.57 lbs/ft2] when tested in accordance with ASTM E 2178.

.2	Water Vapour Permeance: 1914 ng/Pa.m².s (33 perms) to ASTM E96, Method B.

.3	Resistance to Water Penetration: Pass ICC-ES AC 38.

.5	Surface Burning Characteristics: Class A, when tested in accordance with ASTM E84: Flame Spread Rating of 5 and Smoke Development Classification of 125.

.6	Basis Weight: Minimum 80 g/m2, when tested in accordance with TAPPI Test Method T-410.

.7	Cyclic and Elongation: Pass at 100 cycles, -29°C. (-20°F) per ICC-ES AC 48.

.8	Average Dry Breaking Force: 245N MD, and 214N CD per ASTM D 5034.

Spec Note: Masonry Flashings are typically specified in Section 04 05 30.  Co-ordinate material selection and application with air barrier membrane systems.   Blueskin TWF is specifically designed for flashing details with a stronger film and resistance to flow.

.3	Through-wall flashing membrane (Self-Adhering) shall be Blueskin( TWF manufactured by Henry; an SBS modified bitumen, self-adhering (Yellow) sheet membrane complete with a cross-laminated polyethylene film. Membrane shall have the following physical properties:

.1	Membrane Thickness: 1.0 mm (0.0394 inches (40 mils)).

.2	Film Thickness: 0.1mm 4.0 mils.

.3	Flow (ASTM D5147): Pass @ 110°C (230°F).

.4	Puncture Resistance: 180 N (40 lbF) to ASTM E 154.

.5	Tensile Strength (film): 5723 psi ASTM D882.

.6	Tear Resistance: 200 N (13lbs) MD to ASTM D1004.

.7	Low temperature flexibility: -30°C (22°F) to CGSB 37-GP-56M.

2.3	ADHESIVE PRIMERS

.1	Adhesive Primer for primary self-adhering water resistive air barrier membrane, self-adhering transition membrane and SBS modified bitumen membranes at all temperatures shall be Blueskin( Adhesive manufactured by Henry, a synthetic rubber based adhesive, quick setting, having the following physical properties:

.1	Colour: Blue.

.2	Weight: 0.8 kg/l.

.3	Solids by weight: 35%.

.4	Drying time (initial set): 30 minutes.

.5	Auxiliary tested component of ASTM E2357 for Air Leakage of Air Barrier Assemblies.

.2	Adhesive with low VOC content for self-adhering membranes at all temperatures shall be

Blueskin® LVC Adhesive manufactured by Henry-Bakor, a synthetic rubber based adhesive, quick setting, having the following physical properties:

.1         Colour: Blue,

.2         VOC: <240 g/L,

.3         Solids by weight: 40%,

.4         Drying time (initial set): 30 minutes

.3	Primer for self-adhering membranes at temperatures above –4°C shall be Aquatac( Primer manufactured by Henry-Bakor, a polymer emulsion based adhesive, quick setting, having the following physical properties:

.1	Colour: Aqua,

.2	Weight: 1.0 kg/l,

.3	Solids by weight: 53%,

.4	Water based, no solvent odours,

.5	Drying time (initial set): 30 minutes at 50% RH and 20°C.

2.4	PENETRATION & TERMINATION SEALANT

.1	Termination Sealant shall be HE925 BES Sealant manufactured by Henry; a moisture cure, medium modulus polymer modified sealing compound having the following physical properties:

.1        Compatible with sheet air barrier, roofing and waterproofing membranes and substrate,

.2        Complies with Fed. Spec. TT-S-00230C, Type II, Class A.

.3        Complies with ASTM C 920, Type S, Grade NS, Class 25.

.4        Elongation: 450 – 550%.

.5        Remains flexible with aging.

.6        Seals construction joints up to 25 mm (1 inch) wide.

.7	Auxiliary tested component of ASTM E2357 for Air Leakage of Air Barrier Assemblies.

.2	Termination sealant shall be Henry Kop-R-Lastic, a non-sag, non-staining, one component, high performance thermoplastic sealant having the following physical properties:

.1	Elongation: 200% minimum

.2	Peel Strength, Aluminum and glass; 22N

.3	Shore A hardness; 55 maximum

.4	Specific Gravity @ 25°C: 1.06

PART 3 EXECUTION

3.1	EXAMINATION

.1	Verify that surfaces and conditions are ready to accept the Work of this section. Notify [engineer] [architect] [consultant] in writing of any discrepancies. Commencement of the Work or any parts thereof shall mean acceptance of the prepared substrates.

.2	All surfaces must be sound, dry, clean and free of oil, grease, dirt, excess mortar or other contaminants detrimental to the adhesion of the membranes. Fill voids, gaps and spalled areas in substrate to provide an even plane.  Strike masonry joints full-flush.

.3	Curing compounds or release agents used in concrete construction must be resin based without oil, wax or pigments.

3.2	SURFACE PREPARATION

.1	All surfaces must be sound, clean and free of oil, grease, dirt, excess mortar or other contaminants. Fill spalled areas in substrate to provide an even plane.

.2	New concrete should be cured for a minimum of 14 days and must be dry before primer for air barrier membranes are applied.

.3	Ensure all preparatory Work is complete prior to applying primary air barrier membrane.

.4	Mechanical fasteners used to secure sheathing boards or penetrate sheathing boards shall be set flush with sheathing and fastened into solid backing.

.5	Pre-cast and concrete block substrates are required to be primed prior to application of self-adhering water resistive air barrier membrane.

3.3	APPLICATION OF SUBSTRATE ADHESIVE PRIMER

.1	Required Adhesive Primer for SBS Modified Self-Adhered Membranes.

.1	For the application of SBS modified self-adhered window sill pan flashings, through-wall flashings and other applications of SBS modified self-adhered transition membranes, the substrate needs to be conditioned with applicable primer.

.2	Apply primer at rate recommended by manufacturer to all areas to receive SBS modified self-adhering sheet membrane as indicated on drawings by roller or spray and allow to dry.

.3	Primed surfaces not covered by self-adhering membrane or self-adhering through-wall flashing membrane during the same working day must be re-primed.

.2	Adhesive Primer for Primary Water Resistive Air Barrier Membrane.

.1	Clean, dry surfaces of most common construction materials including Dens-Glass Gold(, exterior grade gypsum board, primed steel, aluminum and galvanized metal do not require to be primed to achieve appropriate surface adhesion.

.2	Where appropriate surface adhesion can not be achieved, adhesive prime substrate with specified adhesive primer as per Technical Data Sheet.

.3	Pre-cast concrete and concrete block substrates are required to be primed prior to application of self-adhering water resistive air barrier membrane.

3.4	INSTALLATION OF AIR BARRIER SYSTEM

.1	INSIDE AND OUTSIDE CORNERS

.1	Seal inside and outside corners of sheathing boards with a strip of self-adhering vapour permeable membrane extending a minimum of 75mm (3 inches) on either side of the corner detail.

.1	For inside corners, pre-treat the corner with a continuous 13mm (½ inch) bead of termination sealant.

.2	Prime surfaces where appropriate due to surface conditions, to achieve surface adhesion as per manufacturers’ instructions and allow to dry.

.3	Align and position self-adhering transition membrane, remove protective film and press firmly into place. Ensure minimum 50 mm (2 inches) overlap at all side laps and 75 mm (3 inches) overlap at all end laps of membrane.

.4	Roll all laps and membrane with a counter top roller to ensure seal.

.2	TRANSITION AREAS

.1	Tie-in to structural beams, columns, floor slabs and intermittent floors, parapet curbs, foundation walls, roofing systems and at the interface of dissimilar materials as indicated in drawings with self-adhered air barrier transition membrane.

.1	Prime surfaces where appropriate due to surface conditions, to achieve surface adhesion as per manufacturers’ instructions and allow to dry.

.2	Align and position self-adhering transition membrane, remove protective film and press firmly into place. Provide minimum 75 mm (3 inch) lap to all substrates.

.3	Ensure minimum 50 mm (2 inches) overlap at all side laps and 75 mm (3 inches) overlap at all end laps of membrane.

.4	Roll all laps and membrane with a counter top roller to ensure seal.

Spec Note: Best construction practice requires window sill details to be waterproofed and flashed prior to the placement of the window assembly.  SBS modified self-adhered membranes provide the flexibility to wrap around the configurations of wall openings and provide the self-sealing properties to guard against leaks by mechanical fasteners.

Spec Note: Best construction practice for wood frame construction is to wrap the head and jamb of rough openings with the self-adhered water resistive vapour permeable air barrier membrane to reduce the risk of wood deterioration.  For steel studs with gypsum or Dens Glass Gold sheathing boards wrapping of the head and jamb of rough openings may be completed by either the self-adhered water resistive vapour permeable air barrier membrane or SBS modified self-adhered membrane.

Spec Note: Specific window manufacturer’s instructions over-ride Henry specifications. The installer is responsible to resolve any conflicts in the specifications, local codes, sequencing, materials or techniques between window manufacturer’s instructions and Henry specifications BEFORE CONSTRUCTION.

.3	WINDOWS AND ROUGH OPENINGS

.1	Place specified SBS modified self-adhered window sill pan flashing membrane across window sills. Pre-treat inside corners with a bead of termination sealant. Install window sill pan membrane and end dam terminations, seal cuts and terminations with termination sealant per window manufacturers instructions and ASTM E 2112.

.2	Wrap head and jamb of rough openings with specified self-adhered water resistive air barrier transition membrane as detailed.

.3	Extend specified self-adhered water resistive air barrier membrane into rough window openings sufficient to provide a connection to interior vapour retarder.

.1	Prime surfaces where appropriate to achieve surface adhesion as per manufacturers’ instructions and allow to dry.

.2	Align and position self-adhering transition membrane, remove protective film and press firmly into place. Ensure minimum 50 mm (2 inches) overlap at all side laps and 75 mm (3 inches) overlap at all end laps of membrane.

.3	Roll all laps and membrane with a counter top roller to ensure seal.

.4	THROUGH-WALL FLASHING MEMBRANE

.1	Apply through-wall flashing membrane along the base of masonry veneer walls and over lintels as detailed.

.1	Apply adhesive primer to surfaces and allow to dry, press membrane firmly into place, over lap minimum 50 mm (2 inches) at all side and end laps. Promptly roll all laps and membrane to ensure the seal.

.2	Applications shall form a continuous flashing membrane and shall extend up a minimum of 203 mm (8 inches) up the back-up wall.

.3	Seal the top edge of the membrane where it meets the substrate using termination sealant. Trowel-apply a feathered edge to seal termination to shed water.

.4	Install through-wall flashing membrane and extend 13mm (½ inch) from outside edge of veneer.  Provide “end dam” flashing as detailed.

Spec Note: Acceptable substrates for BlueskinVPTM include Dens-Glass Gold(, exterior grade gypsum board, plywood, OSB, precast concrete, cast-in place concrete, concrete block, primed steel, aluminum and galvanized metal. A primer is not typically required on clean sheathing boards to achieve appropriate adhesion.  (See also 3.02 Surface Preparation) If appropriate adhesion is not obtained due to surface conditions beyond the control of the installer, the adhesion of BlueskinVPTM can be aided by the application of Blueskin( Adhesive or Blueskin( LVC Adhesive

.5	PRIMARY WATER RESISTIVE AIR BARRIER

.1	Apply self-adhering water resistive air barrier membrane complete and continuous to substrate in an overlapping shingle fashion and in accordance with manufacturer's recommendations and written instructions.  Stagger all vertical joints.

.1	Prime surfaces where appropriate [reference preceding spec note] to achieve surface adhesion as per manufacturers’ instructions and allow to dry.

.2	Align and position self-adhering membrane to substrate, remove top panel of protective release film and press firmly into place.

.3	Ensure alignment, hold membrane in place to avoid wrinkles and sequentially remove remaining panels of protective film and press firmly into place.

.4	Ensure minimum 75 mm (3 inch) overlap at all end and 50 mm (3 inch) side laps of subsequent membrane applications.

.5	Apply pressure roller to all membrane surfaces, laps and flashings with a counter top roller or ‘J-roller’ to ensure appropriate surface adhesion.

.6	At the end of each days work seal the top edge of the membrane where it meets the substrate with termination sealant.  Apply to a feathered edge to seal termination and shed water.

3.5	APPLICATION OF TERMINATION SEALANT

.1	Seal membrane terminations, heads of mechanical fasteners, masonry tie fasteners, around penetrations, duct work, electrical and other apparatus extending through the primary water resistive air barrier membrane and around the perimeter edge of membrane terminations at window and door frames with specified termination sealant.

3.6	FIELD QUALITY CONTROL

.1	Make notification when sections of Work are complete to allow review prior to covering air barrier system.

3.7	PROTECTION

.1	Damp substrates must not be inhibited from drying out.  Do not expose the backside of the substrate to moisture or rain.

.2	Cap and protect exposed back-up walls against wet weather conditions during and after application of membrane, including wall openings and construction activity above completed air barrier installations.

.3	Water resistive air barrier membranes are not designed for permanent exposure. Good practice calls for covering as soon as possible, not to exceed 90 days.

END OF SECTION