SPEC NOTE: This specification includes materials and installation procedures for Henry BlueskinVPTM 100, a self-adhering sheet water resistive air barrier membrane.  Henry BlueskinVPTM 100 self-adhesive membrane is used in cavity wall construction to provide a water resistant air barrier membrane, yet allows for the passage of water vapor. This specification should be adapted to suit the requirements of individual projects. It is prepared in CSI Master Format and should be included as a separate section under Division 7 - Thermal and Moisture Protection.

PART 1 - GENERAL

1.01	GENERAL REQUIREMENTS

A.	General Conditions, Supplementary Conditions, Instructions to Bidders and Division One General Requirements shall be read in conjunction with and govern this section.

B.	This Specification shall be read as a whole by all parties concerned.  Each Section may contain more or less than the complete Work of any trade.  The Contractor is solely responsible to make clear to the Subcontractors the extent of their Work.

1.02	DESCRIPTION

A.	Supply labor, materials and equipment to complete the Work as shown on the Drawings and as specified herein to bridge and seal the following air leakage pathways and gaps:

1.	Connections of the walls to the roof air barrier.

2.	Connections of the walls to the foundations.

3.	Seismic and expansion joints.

4.	Openings and penetrations of window and door frames, store front, curtain wall.

5.	Piping, conduit, duct and similar penetrations.

6.	Masonry ties, screws, bolts and similar penetrations.

7.	All other air leakage pathways in the building envelope.

- Materials and installation methods of the primary vapor permeable air barrier membrane system and accessories.

- Materials and installation methods of through-wall flashing membranes.

1.03	PERFORMANCE REQUIREMENTS

A.	Provide an air barrier membrane system constructed to perform as a continuous air barrier, and as a liquid water drainage plane flashed to discharge to the exterior any incidental condensation or water penetration.  Membrane system shall accommodate movements of building materials by providing expansion and control joints as required, with accessory air sealant materials at such locations, changes in substrate, perimeter conditions and penetrations.

1.04	SUBMITTALS

A.	 Submit manufacturers’ current product data sheets for the air barrier membrane system.

1.05	QUALITY ASSURANCE

A.	Perform Work in accordance with manufacturer’s written instructions and this specification.

C.	Maintain one copy of manufacturer’s written instructions on site.

D.	Components used shall be sourced from one manufacturer, including sheet membrane, air barrier sealants, primers, mastics, flashings and adhesives.

E.         Single-Source Responsibility:

1.	Obtain air barrier materials from a single manufacturer regularly engaged in manufacturing the product.

2.	Provide products which comply with all federal, state and local regulations controlling use of volatile organic compounds (VOCs).

1.06	PRE-INSTALLATION CONFERENCE

A.	Contractor shall convene [one] week prior to commencing Work of this section, under provisions of Section 01 31 19 – Project Meetings.

B.	Ensure all contractors responsible for creating a continuous plane of air tightness are present.

1.07	DELIVERY, STORAGE AND HANDLING

A.	Refer to current Product MSDS for proper storage and handling.

B.	Deliver materials to the job site in undamaged and original packaging indicating the name of the manufacturer and product.

C.	Store roll materials on end in original packaging. Protect rolls from direct sunlight and weather until ready for use.

D.	Store air barrier membranes, adhesives and primers at temperatures of 40 degrees F and rising.

E.	Keep solvent away from open flame or excessive heat.

F.	Wasted Management and Disposal

- Separate and recycle waste materials in accordance with Section [01355 - Waste Management and Disposal], and with the Waste Reduction Work Plan

G.	Contractor to verify compliance for Volatile Organic Compounds (VOC) limitations of products to comply with all federal, state and local regulations controlling use of volatile organic compounds (VOCs).

1.08	WARRANTY

A.		Provide manufacturer’s standard 10-year material warranty for air barrier membrane materials, sealant and flashing membrane.

PART 2 - PRODUCTS

  - MATERIALS

- Air barrier membrane components and accessories must be obtained as a single-source from the membrane manufacturer to ensure total system compatibility and integrity.

      - Acceptable Manufacturer: 	Henry Company.

909 N Sepulveda Blvd, Suite 650

El Segundo, CA  90245

(800) 598-7663

Web Site: www.Henry.com

2.02	MEMBRANES (Basis-of-Design)

A. 	Primary water resistive air barrier membrane shall be BlueskinVPTM 100 manufactured by Henry; a self-adhering reinforced modified polyolefin tri-laminate (Blue) sheet air barrier membrane for wall construction, specifically designed to be water resistant and vapor permeable. Patented adhesive backing to be protected with 3 piece release film. Membrane shall have the following physical properties:

1.	Air leakage: <0.004 CFM/ft2 @ 1.57 lbs/ft2 [<0.02L/s/m2 @ 75Pa] when tested in accordance with ASTM E2178.

2.	Water Vapor Permeance: 33 perms to ASTM E96, Method B.

3.	Resistance to Water Penetration: Pass ICC-ES AC 38.

4.	Water Penetration Resistance around Nails: Pass when tested to AAMA 711-05 & ASTM D 1970 modified.

5.	Surface Burning Characteristics: Class A, when tested in accordance with ASTM E84: Flame Spread Rating of 5 and Smoke Development Classification of 125.

6.	Basis Weight: Minimum 100 gm/m2, when tested in accordance with TAPPI Test Method T-410.

7.	Average Dry Breaking Force: 55 lbF MD, and 48 lbF CD per ASTM D 5034.

8.      	Cyclic and Elongation: Pass at 100 cycles, -29 degrees C (-20 degrees F) per ICC-ES AC 48.

B.	Self-adhering SBS membrane shall be Blueskin( WB manufactured by Henry; an SBS modified bitumen, self-adhering sheet membrane which is integrally laminated to a blue polyethylene film. Membrane shall have the following physical properties:

- Membrane Thickness: 0.035 inches (35 mils).

- Low temperature flexibility: -30 degrees F to ASTM D146.

- Elongation: 200% minimum to ASTM D412-modifed.

- Minimum Puncture Resistance 178 N to ASTM E154.

- Lap Peel Strength 1750 N/m width to ASTM D903 180° bend.

C.	Self-adhering membrane for all window jambs, headers, door openings, inside and outside corners, and other transitions shall be pre-cut BlueskinVPTM 100.

D.	Through-wall flashing membrane (Self-Adhering) shall be Blueskin( TWF manufactured by Henry; an SBS modified bitumen, self-adhering (Yellow) sheet membrane complete with a cross-laminated polyethylene film. Membrane shall have the following physical properties:

1.	Membrane Thickness: 0.0394 inches (40 mils)

2.	Film Thickness: 4.0 mils.

3.	Flow (ASTM D5147): Pass @ 212 degrees F.

4.	Puncture Resistance: 134 lbf to ASTM E 154.

5.	Tensile Strength (film): 5723 psi ASTM D882.

6.	Tear Resistance: 13lbs. MD to ASTM D1004.

7.	Low temperature flexibility: -22 degrees F to CGSB 37-GP-56M.

2.03	PRIMERS

A.	Low VOC primer for primary self-adhering water resistive air barrier membrane, self-adhering transition membrane and SBS modified bitumen membranes at all temperatures shall be Blueskin( LVC Adhesive as supplied by Henry; a low V.O.C. quick setting rubber based adhesive.  Primer shall have the following physical properties:

1.	Color: Blue.

2.	Weight: 7.68 lbs/gal.

3.	Solids by weight: 40%.

4.	Max. V.O.C. <240 grams/liter.

5.	Drying time (initial set): 30 minutes at 50% RH and 70 degrees F.

B.	Primer for primary self-adhering water resistive air barrier membrane, self-adhering transition membrane and SBS modified bitumen membranes at all temperatures shall be Blueskin( Adhesive manufactured by Henry, a synthetic rubber based adhesive, quick setting, having the following physical properties:

1.	Color: Blue.

2.	Weight: 6 lbs/gal.

3.	Solids by weight: 35%.

4.	Drying time (initial set): 30 minutes.

2.04	PENETRATION & TERMINATION SEALANT

A.	Termination Sealant shall be HE925 BES Sealant manufactured by Henry; a moisture cure, medium modulus polymer modified sealing compound having the following physical properties:

        - Compatible with sheet air barrier, roofing and waterproofing membranes and substrate,

        - Complies with Fed. Spec. TT-S-00230C, Type II, Class A.

        - Complies with ASTM C 920, Type S, Grade NS, Class 25.

        - Elongation: 450 – 550%.

        - Remains flexible with aging.

        - Seals construction joints up to 1 inch wide.

PART 3 EXECUTION

3.01	EXAMINATION

A.	Verify that surfaces and conditions are ready to accept the Work of this section. Notify [engineer] [architect] [consultant] in writing of any discrepancies. Commencement of the Work or any parts thereof shall mean acceptance of the prepared substrates.

B.	All surfaces must be sound, dry, clean and free of oil, grease, dirt, excess mortar or other contaminants detrimental to the adhesion of the membranes. Fill voids, gaps and spalled areas in substrate to provide an even plane.  Strike masonry joints full-flush.

C.	Curing compounds or release agents used in concrete construction must be resin based without oil, wax or pigments.

D.	Condition materials to room temperature prior to application to facilitate handling.

3.02	SURFACE PREPARATION

A.	Surfaces must be sound, clean and free of oil, grease, dirt, excess mortar or other contaminants. Fill spalled areas in substrate to provide an even plane.

B.	New concrete should be cured for a minimum of 14 days and must be dry before primer for air barrier membranes are applied.

C.	Ensure all preparatory Work is complete prior to applying primary air barrier membrane.

D.	Mechanical fasteners used to secure sheathing boards or penetrate sheathing boards shall be set flush with sheathing and fastened into solid backing.

E.	Pre-cast and concrete block substrates are required to be primed prior to application of self-adhering water resistive air barrier membrane.

3.03	APPLICATION OF SUBSTRATE PRIMER

A.	Required Primer for SBS Modified Self-adhering Membranes.

1.	For the application of SBS modified self-adhering window sill pan flashings, through-wall flashings and other applications of SBS modified self-adhering transition membranes, the substrate needs to be conditioned with applicable primer.

2.	Apply primer at rate recommended by manufacturer to all areas to receive SBS modified self-adhering sheet membrane as indicated on drawings by roller or spray and allow to dry.

3.	Primed surfaces not covered by self-adhering membrane or self-adhering through-wall flashing membrane during the same working day must be re-primed.

4.	For applications of SBS modified self-adhered membranes installed over the primary self-adhered water resistive air barrier membrane, the surface of the primary self-adhered water resistive air barrier membrane must be primed and allowed to cure prior to the placement of the SBS modified self-adhered membrane.

B.	Primer for Primary Water Resistive Air Barrier Membrane.

1.	Clean, dry surfaces of most common construction materials including Dens-Glass Gold(, exterior grade gypsum board, primed steel, aluminum and galvanized metal do not require to be primed to achieve appropriate surface adhesion when surface temperature is above 50 degrees F.

2.	Where appropriate surface adhesion can not be achieved, prime substrate with specified primer in an intermittent pattern, at a rate of 200-250 sq ft/gal as per Technical Data Sheet.

3.	Pre-cast concrete and concrete block substrates are required to be primed prior to application of self-adhering water resistive air barrier membrane.

3.04	INSTALLTION OF AIR BARRIER SYSTEM

A.	INSIDE CORNERS

1.	For inside corners, make sure membrane is tight into corner.

a.	Pre-treat the corner with a continuous ½ inch bead of termination sealant

b.	Terminate one sheet into corner.  Lap this first sheet by the recommended 2” lap

B.	TRANSITION AREAS

1.	Tie-in to foundation walls, roofing systems and at the interface of dissimilar materials as indicated in drawings with SBS self-adhering water resistive air barrier transition membrane.

a.	Prime surfaces in an intermittent pattern, at a rate of 200-250 sq ft/gal where appropriate to achieve surface adhesion as per manufacturers’ instructions and allow to dry.

b.	Align and position self-adhering transition membrane, remove protective film and press firmly into place. Provide minimum 3 inch lap to all substrates.

c.	Ensure minimum 2 inches overlap at all side laps and minimum 3 inches overlap at all end laps of membrane.

d.	Roll all laps and membrane with a counter top roller to ensure seal.

Spec Note: Best construction practice requires window sill details to be waterproofed and flashed prior to the placement of the window assembly.  SBS modified self-adhering membranes provide the flexibility to wrap around the configurations of wall openings and provide the self-sealing properties to guard against leaks by mechanical fastener attachment.

Spec Note: Subject to the hygrothermic region of the project a vapor retarder may be incorporated into the wall design.  At wall openings for doors and windows best construction practice requires the air barrier and vapor retarder be connected to limit uncontrolled air or moisture.

Spec Note: Best construction practice for wood frame construction is to protect the jamb of rough openings with the self-adhering water resistive vapor permeable air barrier membrane to reduce the risk of wood deterioration.  Alternatively, for steel stud frame construction with Dens-Glass Gold( or gypsum sheathing boards a SBS modified membrane may be used to protect the head and jamb of rough openings.

Spec Note: Specific window manufacturer’s instructions over-ride Henry specifications for window openings. The installer is responsible to resolve any conflicts in the specifications, sequencing, materials or techniques between window manufacturer’s instructions and Henry specifications BEFORE CONSTRUCTION.

C.	WINDOWS AND ROUGH OPENINGS

1.	Place specified SBS self-adhering window sill pan flashing membrane across window sills. Pre-treat inside corners with a bead of termination sealant. Install window sill pan membrane and end dam terminations, seal cuts and terminations with termination sealant.

2.	Wrap jamb of rough openings with specified self-adhering water resistive air barrier transition membrane as detailed.

3.	Extend specified self-adhering water resistive air barrier membrane into rough window openings sufficient to provide a connection to interior vapor retarder.

a.	Prime surfaces in an intermittent pattern, at a rate of 200-250 sq ft/gal where appropriate to achieve surface adhesion as per manufacturers’ instructions and allow to dry.

b.	Align and position self-adhering transition membrane, remove protective film and press firmly into place. Ensure minimum 2 inches overlap at all side laps and minimum 3 inches overlap at all end laps of membrane.

c.	Roll all laps and membrane with a counter top roller to ensure seal.

D.	THROUGH-WALL FLASHING MEMBRANE

1.	Apply through-wall flashing membrane along the base of masonry veneer walls and over shelf angles as detailed.

a.	Prime surfaces and allow to dry, press membrane firmly into place, over lap minimum 2 inches at all end and side laps. Promptly roll all laps and membrane to ensure the seal.

b.	Applications shall form a continuous flashing membrane and shall extend up a minimum of 8 inches up the back-up wall.

c.	Seal the top edge of the membrane where it meets the substrate using termination sealant. Trowel-apply a feathered edge to seal termination to shed water.

d.	Install through-wall flashing membrane and extend 1/2 inch from outside edge of veneer.  Provide “end dam” flashing as detailed.

Spec Note: Acceptable substrates for BlueskinVPTM include Dens-Glass Gold(, exterior grade gypsum board, plywood, OSB, precast concrete, cast-in place concrete, concrete block, primed steel, aluminum and galvanized metal.  A primer is not typically required on clean sheathing boards to achieve appropriate adhesion.  (See also 3.02 Surface Preparation) If appropriate adhesion is not obtained due to surface conditions beyond the control of the installer, the adhesion of BlueskinVPTM can be aided by the application of Blueskin( LVC Adhesive or HENRY Blueskin( Adhesive.

E.	PRIMARY WATER RESISTIVE AIR BARRIER

1.	Apply self-adhering water resistive air barrier membrane complete and continuous to substrate in a sequential overlapping weatherboard method starting at bottom or base of wall and working up in accordance with manufacturer's recommendations and written instructions.  Stagger all vertical joints.

a.	Prime surfaces in an intermittent pattern, at a rate of 200-250 sq ft/gal where appropriate to achieve surface adhesion as per manufacturers’ instructions and allow to dry.

b.	Cut to manageable sections, align and position self-adhering membrane to substrate, remove top panel of protective release film and press firmly into place.

c.	Ensure alignment, hold membrane in place to avoid wrinkles and sequentially remove remaining panels of protective film and press firmly into place.

d.	Ensure minimum 3 inch overlap at all ends and 2 inch side laps of subsequent membrane applications.

c.	Pressure roll all membrane surfaces, laps and flashings with a counter top roller or ‘J-roller’ to ensure appropriate surface adhesion.

d.	At the end of each days work seal the top edge of the membrane where it meets the substrate with termination sealant.  Trowel apply a feathered edge to seal termination and shed water.

3.05	APPLICATION OF TERMINATION SEALANT

A.	Seal membrane terminations, heads of mechanical fasteners, masonry tie fasteners, around penetrations, duct work, electrical and other apparatus extending through the primary water resistive air barrier membrane and around the perimeter edge of membrane terminations at window and door frames with specified termination sealant.

B.	Seal the leading edge of membrane terminations and reverse laps.

3.06	FIELD QUALITY CONTROL

A.	Make notification when sections of Work are complete to allow review prior to covering air barrier system.

3.07	PROTECTION

A.	Damp substrates must not be inhibited from drying out.  Do not expose the backside of the substrate to moisture or rain.

B.	Cap and protect exposed back-up walls against wet weather conditions during and after application of membrane, including wall openings and construction activity above completed air barrier installations. Protect air barrier membrane from damage and inclement weather during the construction phase.

C.	Water resistive air barrier membrane is not designed for permanent exposure. Good practice calls for covering as soon as possible, not to exceed 90 days.

D.	Regional weather conditions and daytime sunlight temperatures may require the membrane to be protected under the 90 day exposure limit.

END OF SECTION